## Template
Variable | Value
Number of primer sets
Number of primers per set
Volume of each primer transfer (uL)
Volume of polymerase transfer (uL)
Final volume of reactives (without colony)
Source Plate (Name)
Number of source plates
Number of samples in every source plate
Final Plate (Name)
Volume of colony Transfer (uL)
Optional Map
Name of map
Index of start cell in source plate
Index of start cell in final plate
Number of colonies to perform PCR
Position colonies not to do PCR
Number of controls
Position of controls
Pipette Right Mount
Pipette Left Mount
Starting tip Pipette Right
Starting tip Pipette Left
Extra Pipetting Adjust Factor
Replace Tiprack
API name of ColdBlock

## VariableExplanation
Variable | Type of Value | Description | Value Comment
Number of primer sets | Number | The number of different sets that PCR is going to be performed
Number of primers per set | Number | The number of primers that each set has to have (they do not have to be different, but they will be placed in different tubes in the final setting)
Volume of each primer transfer (uL) | Number | Volume of each primer that each reaction need, needs to be the same for all primers | Use a point as a decimal separator if needed
Volume of polymerase transfer (uL) | Number | Volume of polymerase that each reaction need | Use a point as a decimal separator if needed
Final volume of reactives (without colony) | Number | Volume in uL that the polymerase, primers and water will have per reaction
Source Plate (Name) | String | API name of the source plates
Number of source plates | Number | Number of source plates
Number of samples in every source plate | List | Number of total samples (controls + samples not perform PCR + samples to perform PCR) in each source plate. If a number is not provided, assumed plate is full | Needs to be pairs of parenthesis (position, plate) englobed in quotation marks (see examples).
Final Plate (Name) | String | API name of the final plates
Volume of colony Transfer (uL) | Number | Volume of each colony to transfer to final wells | Use a point as a decimal separator if needed
Optional Map | Boolean | Protocol can give as many .csv files as source plates stating where in the final plates is that sample placed in
Name of map | String | In case Optional Map is True, name of the map that will be stored in /data/user_storage | Not include the extension in the name of the map
Index of start cell in source plate | List | First cell that we take in account for PCR samples preparation, if none given for a plate, assumed that the index is 0 | Needs to be pairs of parenthesis (position, plate) englobed in quotation marks (see examples). A1 will be 0, B1 will be 1, C1 will be 2 and so on
Index of start cell in final plate | Number |  | A1 will be 0, B1 will be 1, C1 will be 2 and so on
Number of colonies to perform PCR | Number | Number of colonies to perform PCR (adding all the samples of every source plate without taking in account the controls)
Position colonies not to do PCR | List | Positions in the source plates that should not be picked to perform PCR | Needs to be pairs of parenthesis (position, plate) englobed in quotation marks (see examples). If no samples in this category, mark it as a hyphen
Number of controls | Number | Number of controls, it need to be consequent with position of control
Position of controls | List | Positions in the plates that are cointing controls of the experiment. They will be dispense at the end of every set of primers in the final plates | Needs to be pairs of parenthesis (position, plate) englobed in quotation marks (see examples). If no controls, it should be noted as a hyphen
Pipette Right Mount | String | API name of the pipette in the right mount | Only single channel pipettes
Pipette Left Mount | String | API name of the pipette in the left mount | Only single channel pipettes
Starting tip Pipette Right | Characters | First available tip in the first tiprack assigned to the right pipette, all other tipracks are assumed to be full | Position of the tipracks, for example A1
Starting tip Pipette Left | Characters | First available tip in the first tiprack assigned to the left pipette, all other tipracks are assumed to be full
Extra Pipetting Adjust Factor | Number | Fraction of volume added to the total of volume needed for the sets destined to make sure the pipetting error does not affect in the volume. | Recommended to be at least 0.1
Replace Tiprack | Boolean | You will have minimum as many tiprack types as pipettes, if you replace them you will only have maximum 2 but if you do not replace tipracks you will have all tipracks from the beginning in the deck | Only True or False
API name of ColdBlock | String | API name that the coldblock has The coldblock needs to have 12 slots (3 rows and 4 columns) The eppendorfs associated to the coldblock are the ones of 1.5mL (protocol is tunned for this max volume)

## Example1
Variable | Value
Number of primer sets | 2
Number of primers per set | 2
Volume of each primer transfer (uL) | 1
Volume of polymerase transfer (uL) | 10
Final volume of reactives (without colony) | 18
Source Plate (Name) | vwrblueprintdepth105_96_wellplate_390ul
Number of source plates | 2
Number of samples in every source plate | (20, 1), (40, 2)
Final Plate (Name) | stacked_abgenes_pcr_96well_300ul
Volume of colony Transfer (uL) | 2
Optional Map | False
Name of map | None
Index of start cell in source plate | (3,1),(10,2)
Index of start cell in final plate | 20
Number of colonies to perform PCR | 56
Position colonies not to do PCR | (C2 ,1), (C3, 2)
Number of controls | 2
Position of controls | (D2, 1), (E2, 1)
Pipette Right Mount | p20_single_gen2
Pipette Left Mount | p300_single_gen2
Starting tip Pipette Right | A1
Starting tip Pipette Left | B1
Extra Pipetting Adjust Factor | 0.2
Replace Tiprack | False
API name of ColdBlock | coolblocknew_12_tuberack_1500ul

## Example2
Variable | Value
Number of primer sets | 1
Number of primers per set | 3
Volume of each primer transfer (uL) | 2
Volume of polymerase transfer (uL) | 20
Final volume of reactives (without colony) | 100
Source Plate (Name) | corning_96_wellplate_360ul_flat
Number of source plates | 2
Number of samples in every source plate | (20,2)
Final Plate (Name) | armadillo_96_wellplate_200ul_pcr_full_skirt
Volume of colony Transfer (uL) | 10
Optional Map | True
Name of map | map_test
Index of start cell in source plate | -
Index of start cell in final plate | -
Number of colonies to perform PCR | 116
Position colonies not to do PCR | -
Number of controls | 0
Position of controls | -
Pipette Right Mount | p1000_single_gen2
Pipette Left Mount | p20_single_gen2
Starting tip Pipette Right | A10
Starting tip Pipette Left | A2
Extra Pipetting Adjust Factor | 0.1
Replace Tiprack | True
API name of ColdBlock | coolblocknew_12_tuberack_1500ul